Logo

Description automatically generated

Certificate of Analysis

**Description: CBDV Isolate**

**Batch Number: GGPKG12570**

**Sample Test Date: 13/Dec/2022**

**Expiry Date: 02/Dec/2024**

**Test Method: Cannabinoid Analysis by HPLC**

|  |  |  |  |
| --- | --- | --- | --- |
| Cannabinoid | Specification | Result (mg/g) | Result (%w/w) |
| **CBD**  (Cannabidol) | <0.02% (LOQ) | ND | ND |
| **CBDA**  (Cannabidolic acid) | <0.02% (LOQ) | ND | ND |
| **CBDV**  (Cannabidvarin) | <0.02% (LOQ) | ND | ND |
| **CBDVA**  (Cannabidivarinic Acid) | <0.02% (LOQ) | ND | ND |
| **CBG**  (Cannabigerol) | <0.02% (LOQ) | ND | ND |
| **CBC**  (Cannabinchromene) | <0.02% (LOQ) | ND | ND |
| **CBCA**  (Cannabichromenic Acid) | <0.02% (LOQ) | ND | ND |
| **Δ8 THC**  (Delta 8-Tetrahydrocannabinol) | <0.02% (LOQ) | ND | ND |
| **Δ9 THC**  (Delta 9-Tetrahydrocannabinol) | <0.05% | ND | ND |
| **THCA**  (Tetrahydrocannabinolic Acid) | <0.02% (LOQ) | ND | ND |
| **THCV**  (Tetrahydrocannabivarin) | >85% | 88.5 | 885.0 |
| **THCVA**  **(**Tetrahydrocannabivarinic Acid) | <0.02% (LOQ) | ND | ND |
| **CBN**  (Cannabinol) | <0.02% (LOQ) | ND | ND |

LOD = Limit of Detection (0.005%)

LOQ = Limit of Quantification (0.02%)

ND = Not Detected

This COA has been created by a qualified member of Breathe Life Sciences’ Analytical Chemist Team and approved.



**Dr Richard Watson**

Chief Scientific Officer